## Slide 1: EE and DR Inputs into RPM
4/23/2020
RAAC/SAAC Webinar
John Ollis

## Slide 2: Summary
EE curves (sample data)
  EE price vs aMW (by bin)
  EE peak MW contribution (by bin)
  EE on vs off peak (by quarter)
  EE ramp multipliers and max contribution (by bin, period)
DR curves (sample data)
  DR costs (by bin)
  DR peak and aMW contribution (by bin)
  DR maximum ramp per year and for the study (by bin)
EE/DR Elasticity Array
  Modifies DR availability by uptake of EE (can increase or decrease DR)
  Indexed by EE bin and DR bin

## Slide 3: Quick Summary of EE and DR Supply Curves

## Slide 4: Conservation By Bin Price and Total aMW
Conservation Bucket | Price ($/MWh) | Energy (MWa)
1 | -46 | 1092
2 | 5 | 1548
3 | 15 | 1917
4 | 24 | 2188
5 | 33 | 2826
6 | 44 | 3331
7 | 56 | 4332
8 | 64 | 4839
9 | 75 | 5081
10 | 84 | 5295
11 | 94 | 5356
12 | 115 | 5542
13 | 146 | 5820
14 | 562 | 6586

## Slide 5: Peak MW Contribution By Bucket
Conservation Bucket | 1 | 2 | 3 | 4
1 | 1343 | 3430 | 3430 | 1343
2 | 1866 | 4302 | 4302 | 1866
3 | 2301 | 5047 | 5047 | 2301
4 | 2609 | 5465 | 5465 | 2609
5 | 3432 | 6416 | 6416 | 3432
6 | 4084 | 7452 | 7452 | 4084
7 | 5411 | 9859 | 9859 | 5411
8 | 6411 | 10899 | 10899 | 6411
9 | 6787 | 11251 | 11251 | 6787
10 | 7182 | 11601 | 11601 | 7182
11 | 7313 | 11676 | 11676 | 7313
12 | 7767 | 11906 | 11906 | 7767
13 | 8476 | 12505 | 12505 | 8476
14 | 10365 | 14718 | 14718 | 10365

## Slide 6: On and Off Peak Percentages Recall: Definitions have changed
SubAnnual Block | OffPeak | OnPeak
1 | 1.732421 | 0.315094
2 | 1.555689 | 0.267219
3 | 1.768202 | 0.312071
4 | 1.733066 | 0.309774

## Slide 7: Further details on EE online
https://www.nwcouncil.org/2021-power-plan-technical-information-and-data

## Slide 8: Quick DR Summary

## Slide 9: Some Prices and Magnitudes…
 | Price ($/kW-yr) | 2026 Winter | 2031 Winter | 2041 Winter | 2025 Summer | 2030 Summer | 2040 Summer
Demand Response Price Bin 1 | 2 | 452 | 708 | 741 | 1146 | 1677 | 1916
Demand Response Price Bin 2 | 11 | 205 | 210 | 221 | 337 | 419 | 442
Demand Response Price Bin 3 | 37 | 586 | 662 | 790 | 36 | 85 | 165
Demand Response Price Bin 4 | 79 | 637 | 674 | 758 | 501 | 666 | 763

## Slide 10: Further details on DR online
https://www.nwcouncil.org/2021-power-plan-technical-information-and-data

## Slide 11: DR/EE Interaction

## Slide 12: EE/DR Interaction
Talked about this previously in multiple SAAC meetings and System Integration Forum.
  Initially, it appeared we would not be able to model EE and DR interaction dynamically, but it appears to some extent we may.
  A multiplier is applied to derate/increase the amount of available new and acquired DR per the EE acquisition via a multipler

## Slide 13: Example of How DR will be Limited by EE Acquisition in RPM
Assume the model has purchased up through Bin 1 of Conservation.
Say the conservation peak contribution from Conservation Bin 1 is 100 MW in a time period where there is a 1000 MW Peak load. In other words, EE reduced peak load by 10%
Assume the multiplier for DR Bin 3 (based on Conservation Bin 1 being bought) is .5. That means the DR potential is derated by .5 * 10% = 5%
Thus if the DR originally available in that bin is 300 MW than the amount available for purchase is now 285 MW, which is 95% of the original value.

## Slide 14: Formulation of Interaction Factor
Where:
is an estimate of the percent of peak load reduced by conservation in EE cost bin i and
is the percent of DR potential reduced in DR cost bin j.
Another way to think about numerator: = (DRi-DRf)/DRi
DRi Initial estimate of DR (from DR supply curves)
DRf Final estimate of DR, after accounting for EE impact

## Slide 15: DR/EE Elasticity Sample
EE Bin | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
DR Bin 1 | 0.1 | 0.1 | 0.1 | 7.3 | 0.1 | 0.1 | 5.2 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1
DR Bin 2 | 0.3 | 0.1 | 0.1 | 0.0 | 0.1 | -2.1 | 0.3 | -6.1 | 0.4 | -6.6 | -5.0 | 0.3 | 0.5 | 0.5
DR Bin 3 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 2.4 | 0.0 | 18.5 | 12.6 | 7.4 | 5.7 | 5.8 | 0.0 | 2.2
DR Bin 4 | 0.0 | 0.0 | 0.0 | 0.0 | 0.0 | 0.4 | 0.0 | 2.6 | 1.5 | 1.3 | 1.7 | 0.9 | 0.0 | 0.3

## Slide 16: The Effect of DR/EE Interaction Factor Depends
Mostly on size of DR program, but also on size of EE impact.
The numbers depend on what makes up the bin.
The general effect is that EE diminishes the DR potential, but some measure/program interactions increase DR slightly

## Slide 17: Questions
John Ollis
jollis@nwcouncil.org